|  | QC Flooring. Item; Description; Unit; Quantity; Rate; Total. 1.; The permanent formwork shall be QC Flooring Standard 54mm or QC Flooring Prop less deep troughed interlocking panels in: - ISQ 300 1.0mm in a galvanised spelter of Z275 or - ISQ 300 1.0mm in a galvanised spelter of Z275 with a Globalcoat colour finish to one side or - ISQ 300 1.2mm in a galvanised spelter of Z275 or - ISQ 300 1.2mm in a galvanised spelter of Z275 with a Globalcoat colour finish to one side or - ISQ 300 1.6mm in a galvanised spelter of Z275 or - ISQ 300 2.0mm in a galvanised spelter of Z275 Note: please contact manufacturer for load tables and QC prop less sizes to suit. Manufacturer: Global Roofing Solutions: Tel. (011) 898-2900; M2. 2.; Kerb Flashing 25 x 50 x depth of slab. Available in 0,8mm, 1,0mm, 1,2mm Z275 Spelter Galvanized steel.; Lm. 3.; Drip Kerb Flashing 25 x 25 x 35 x 50 x Depth of slab available in 0,8, 1,0, 1,2 Z275 Spelter Galvanized Steel.; Lm. 4.; Strapping to secure flashing; Lm.. |  |
| --- | --- | --- |