|  |  | Bond-Dek Item Description Unit Quantity Rate Total 1. The permanent form work shall be Bond-Dek , 75mm deep x 900mm wide rib trough interlocking sheets roll-formed from certified steel complying with ASTM 446 Grade C with Z275 Galvanised finish or Black Supa-Form CR300 steel. Manufacturer: Global Roofing Solutions Tel. (011) 898-2900 Options of finish to be placed above: 0.8mm Galvanized Z275 Spelter 1.0mm Galvanized Z275 Spelter. 1.2mm Galvanized Z275 Spelter. 0.8mm Black Supa-Form CR300 steel 1.0mm Black Supa-Form CR300 steel 1.2mm Black Supa-Form CR300 steel M2 2. Kerb Flashing 25 x 75 x slab depth. Available in 0.8mm, 1.0mm, 1.2mm Z275 Spelter Galvanized steel. Lm 3. Drip Kerb Flashing 25 x 25 x 35 x 50 x Depth of slab available in 0.8mm, 1.0mm, 1.2mm Z275 Spelter Galvanized Steel. Lm 4. Strapping to secure flashing Lm 5. Bond-Dek closer Lm |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |