# GRS ZIP-TEK 420™

## GRS ZIP-TEK 420™ PROFILED SHEETING AND ACCESSORIES ## SHEETING The roof sheeting shall be GRS Zip-Tek 420™ concealed-fix profile roll-formed in continuous lengths and cut to length by a pneumatic cut-off process from certified (select from: Galvanised 0.58mm OR ZINCALUME® 0.53mm OR ZincAL® 0.55mm) steel. A certificate verifying compliance shall be issued by the manufacturer, Global Roofing Solutions. The profile shall be roll-formed with two ribs at centres not exceeding 424mm and a cover width not exceeding 424mm. These will include a male and female rib with capillary action breaks. When seamed, the minimum sheet depth shall be 68mm. Zip-Tek 420™ shall be obtained from Global Roofing Solutions Tel. (011) 898-2900 ### MATERIAL AND FINISH FOR ZIP-TEK 420™ ROOF SHEETING ### Select from below: - Galvanised steel Z275 complying with ISQ 230 - Galvanised steel Z200 complying with ISQ 230, with a Chromadek® colour coated finish to one side with a Pebble Grey backing coat OR colour coated to two sides - ZINCALUME® AZ150 coated steel G300 in mill finish - ZINCALUME® AZ150 coated steel G300 with a Clean COLORBOND™ colour coated finish to one side with a Shadow Grey backing coat OR colour coated to two sides(Nonstandard, by special request only) - ZincAL® AZ150 coated steel G300 in mill finish - ZincAL® AZ150 coated steel G300 with a ColorPLUS® colour coated finish to one side with a Cool Grey backing coat OR colour coated to two sides(Nonstandard, by special request only) - Aluminium 3004/9017 (H44) mill finish - Aluminium 3004/9017 (H44) G4 ColorTech (Polyester G4) ### BULLNOSE ### Bullnose cranking can be done to a min. radius of 1 000mm. Note: Reverse cranking is not possible. ### Machine curve (smooth curve) - Aluminium 0.8mm only ### Forward (convex) curve min. radii 15m and Reverse (concave) curved min. radii 29m. ### SMOOTH CURVING: (Zip-Tek 420™ roof sheets) ### Smooth curving is the forming of the Zip-Tek 420™ roof sheet through mechanically curving the sheets using a specifically designed curving roll former. This process is used to achieve smooth bend radii without creating indentations caused by normal crank curving. This smooth curved surface compliments modern roofing and cladding designs. Note: It is not possible to smooth curve steel (Galvanised) sheets. Complex curves: A single sheet can be forward and reverse-curved to create a wave shape. ### SPRINGING ### Zip-Tek 420™ can be sprung to a minimum radius of 36m (convex) and 55m (concave), with internal spans of purlins at 1.5m max. ### TAPERED SHEETS ### Tapered Zip-Tek 420™ sheets have become increasingly significant for roofing applications as they can be formed into a diverse range of shapes. The minimum and maximum cover widths range between 260mm and 650mm. Minimum sheet length to be 1500mm long. Tapered Zip-Tek 420™ sheets have to be installed on the roof by following the precise instructions laid down in the relevant installation plan. It is advisable to check the actual dimensions of the substructure before producing the tapered sheets. Tapered sheets cab not be curved. For Springing requirements contact Global Roofing Solutions Tel. (011) 898-2900. ### FIXING ZIP-TEK 420™ The ZIP-TEK 420™ sheets shall be fixed to every purlin by means of patented halter, the halter must be secured using suitable fasteners as detailed in the GRS Installation manual (selection from installation manual). The female rib must mechanically seamed using a seaming machine 420 over the entire length of the sheet. ### ZIP-TEK 420™ FLASHINGS Flashings specifications shall be to the Global Roofing Solutions standards and fixed in accordance with our GRS Installation manual. Prior to flashings being fixed, all troughs at the apex shall be stop-ended to the full depth of the sheet in order to prevent any penetration of wind driven water. The trough shall be lipped at the eaves end to form a drip. Transverse flashing flanges shall be notched to the sheet profile where necessary. All these operations must be performed with special tools available from Global Roofing Solutions. ### SAFETY The contractor shall exercise special care when handling long length sheeting, particularly in windy conditions. Should work be interrupted for any reason, all loose sheeting and incomplete sections must be adequately secured against possible movement by wind and gravity. ### INSTALLATION Every precaution shall be taken to prevent damage to roof sheets during all stages of construction. Duck boards should be used when necessary to protect the sheeting from damage. Sheeting which has become deformed or damaged in any way, should be replaced. Care shall be taken to ensure that no sheeting or flashing will be cut with abrasive disc on roof surfaces in order to prevent steel particles from penetrating coated surfaces. ### HANDLING AND STORAGE The contractor shall ensure that all materials used on site for roofing/cladding, be transported, handled and stored in accordance with the manufacturer’s recommendations. Material damaged shall be rejected and replaced with undamaged material at the contractor’s expense. Repair of damaged material will not generally be permitted. Rates are to include for preventing damage and protecting sheets through all stages of construction. ### INSPECTION PRIOR TO INSTALLATION Before commencing installation, the contractor shall verify that the following items have been checked and accepted: - The entire structure or the portion thereof to be sheeted has been correctly aligned, levelled and grouted. - Purlins and girts are at the correct spacing and are within the specified tolerances. - The corners of the roof are square and the wall framework is perpendicular or as specified. - No protrusions such as bolt heads, splice plates, cleats, etc. appear on the face of the framework. - All members to which roofing and cladding are to be fixed in aesthetically sensitive areas are true and square. - Paint and any other materials that may be incompatible with the sheeting, have been painted over or, so dealt with that direct contact with the sheeting is avoided. - The contact faces between the purlins or the girts and the cladding are in the same plane. Should the alignment be inadequate, the contractor shall request instructions from the engineer before proceeding with the fixing of the cladding. ### PROTRUSION THROUGH SHEETED SURFACES Protrusions such as pipes, ducts and the like, shall be adequately flashed where they pass through the sheeting surface. Where ribs have to be cut away to permit penetration, additional framing is to be installed as required to support the sheeting. Depending on the position of the penetration through the roof, special attention shall be given to back flashing the sheeting to the ridge or point of water entry. In all cases, all cutting and flashings shall be so arranged that adequate provision is made for the drainage of all troughs and corrugations. ### GUARANTEE The manufacturer shall comply with ISO 9001:2008 Quality Management System. Zip-Tek™ sheeting shall be laid in strict accordance with the manufacturer’s specifications by a GRS approved contractor. A written and approved five year guarantee of water-tightness shall be issued after approval of roofs by the manufacturer Global Roofing Solutions. ### CLEANING OF ROOF, ETC. All debris, swarf, etc. arising from the fixing of the cladding shall be removed from the sheeting as the fixing progresses. In addition, off-cuts of insulation, surplus fasteners, sealants, mandrels from pop rivets, off-cuts of sheeting, surplus flashing, food packaging, cartons, bottles, cans, etc. shall not be left on the roof or in the gutters. Care shall be taken to ensure that no such material enters, blocks or partially impedes the flow of water into the outlets, down pipes, etc. BILL DESCRIPTIONS Please refer to following page… BILL DESCRIPTIONS

Item; Description; Unit; Quantity; Rate; Total. 1.; Roofing shall be GRS Zip-Tek 420™ profile roll-formed in continuous lengths from certified *(Insert one of options below in this space) and fixed to steel / timber purlins/girts using Halters and class 3 fasteners, in strict accordance with manufacturer’s specifications by a GRS Approved Contractor. A written and approved five year guarantee of water-tightness shall be issued after approval of roofs by the manufacturer Global Roofing Solutions (Guarantee only applicable if installed by a GRS approved contractor). Manufacturer: Global Roofing Solutions Tel. (011) 898-2900 *Options of finish to be placed above: (Galvanised Steel) - Galvanised steel Z275 0.58mm (Heavy Industrial) complying with ISQ 230 - Galvanised steel Z275 0.58mm (Heavy Industrial) complying with ISQ 230 - Galvanised steel Z200 0.58mm (Heavy Industrial) complying with ISQ 550 (3T) (A653) with a Chromadek® finish to one side and standard backing coat, Pebble Grey to other - Galvanised steel Z200 0.58mm (Heavy Industrial) complying with ISQ 550 (3T) (A653) with a Chromadek® finish to two sides (ZINCALUME®) - ZINCALUME® AZ150 coated steel G550 0.53mm (Heavy Industrial) in mill finish - ZINCALUME® AZ150 coated steel G550 0.53mm (Heavy Industrial) with a Clean COLORBOND™ finish to one side and a standard backing coat, Shadow Grey to other - ZINCALUME® AZ150 coated steel G550 0.53mm (Heavy Industrial) with a Clean COLORBOND™ finish to two sides (Not standard, by special request only) (ZincAL®) - ZincAL® AZ150 coated steel G550 0.55mm (Heavy Industrial) in mill finish - ZincAL® AZ150 coated steel G550 0.55mm (Heavy Industrial) with a ColorPLUS® finish to one side and a standard backing coat, Cool Grey to other - ZincAL® AZ150 coated steel G550 0.55mm (Heavy Industrial) with a ColorPLUS® finish to two sides (Not standard, by special request only) (Aluminium) - Aluminium 0.8mm Mill Finish - Aluminium 0.9mm Mill Finish - Aluminium 0.8mm with a Colortech G4 finish to one side with a standard colour backing coat - Aluminium 0.9mm with a Colortech G4 finish to one side with a standard colour backing coat - Aluminium 0.8mm with a Colortech G4 finish to two sides - Aluminium 0.9mm with a Colortech G4 finish to two sides; M2. 2.; Bullnosing cranking to a radius of………….mm (1 000mm min.) Note: Reverse cranking is not possible. OR Curving on Aluminium 0.8mm. Curving forward (Convex) curved to a radius of………..mm (from min.15m to 36m) Curving reverse (Concave) curved to a radius of………..mm (from min.29m) OR Springing Zip-Tek 420™ can be sprung to a minimum radius of 36m (convex) and 55m (concave), with internal spans of purlins at 1.5m max..; Lm. M2.. 3.; Over and above for rake cutting and waste.; Lm. 4.; Bend up troughs to form a dam.; Lm. 5.; Bend down troughs to form a drip.; Lm. 6.; No Translucent and/or Polycarbonate Roofing/Side Cladding is available in this profile; N/A. 7.; Roof Insulation shall be: (This serves as a guide only) - Factorylite - Lamdaboard - Isoboard - Alububble - Super Sisalation 420SA.; M2. 8.; Flashings shall be manufactured from *(Insert one of options below in this space) and fixed by way of S10 brackets or, Sliding brackets at apex where roof sheets are 30m or longer, all in strict accordance with manufacturer’s specification using the appropriate tools available from Global Roofing Solutions. *Options of finish to be placed above: (Galvanised Steel) - Galvanised steel Z275 0.58mm - Galvanised steel Z275 0.8mm - Galvanised steel Z200 0.58mm with a Chromadek® finish to one side with a Pebble Grey backing coat - Galvanised steel Z200 0.8mm with a Chromadek® finish to one side with a Pebble Grey backing coat - Galvanised steel Z200 0.58mm with a Chromadek® finish to two sides - Galvanised steel Z200 0.8mm with a Chromadek® finish to two sides (ZINCALUME®) - ZINCALUME® AZ150 0.53mm coated steel in mill finish - ZINCALUME® AZ150 0.53mm coated steel with a Clean COLORBOND™ finish to one side with a Shadow Grey backing coat - ZINCALUME® AZ150 0.53mm coated steel with a Clean COLORBOND™ finish to two sides (Not standard, by special request only) (ZincAL®) - ZincAL® AZ150 0.55mm coated steel in mill finish - ZincAL® AZ150 0.55mm coated steel with a ColorPLUS® finish to one side with a Cool Grey backing coat - ZincAL® AZ150 0.55mm coated steel with a ColorPLUS® finish to two sides (Not standard, by special request only) (Aluminium) - Aluminium 0.8mm Mill Finish - Aluminium 0.9mm Mill Finish - Aluminium 0.8mm with a Colortech G4 finish to one side with a standard colour backing coat - Aluminium 0.9mm with a Colortech G4 finish to one side with a standard colour backing coat - Aluminium 0.8mm with a Colortech G4 finish to two sides - Aluminium 0.9mm with a Colortech G4 finish to two sides. 9.; Ridge Cap 550mm girth 3 times bent and notched on site to suit roof profile.; Lm. 10.; Hip Cap 550mm girth 3 times bent and notched on site to suit roof profile.; Lm. 11.; Apex Flash 512mm girth 3 times bent and notched on site to suit roof profile.; Lm. 12.; Headwall Flash 331mm girth 2 times bent and notched on site to suit roof profile.; Lm. 13.; Sidewall Flash 428mm girth 2 times bent.; Lm. 14.; Curved Sidewall Flash 428mm girth 2 times bent to a radius of …………..mm.; No. 15.; Counter Flash 185mm girth 2 times bent. OR Curved Counter Flash 185mm girth 2 times bent to a radius of …………mm.; Lm.. 16.; Apron Flash 375mm girth 2 times bent and notched on site to suit roof profile. OR Apron Flash 337mm girth 1 bend fixed to B/F serrated closers with no direct perforations.; Lm. 17.; Gable Trim (Barge Flash) 600mm girth 3 times bent.; Lm. 18.; Curved Gable Trim 600mm girth 3 times bent to a radius of ………..mm.; No. 19.; External Corner Trim 656mm girth 3 times bent.; Lm. 20.; Internal Corner Trim 656mm girth 3 times bent.; Lm. 21.; Cap Flash…………mm girth 2 times bent.; Lm. 22.; Drip Flash 269mm girth 3 times bent.; Lm. 23.; Back Flash (Soaker Flash)……….mm girth 2 times bent.; Lm. 24.; Valley Gutter 610mm girth 4 times bent.; Lm. 25.; Hood Flash…….mm girth 3 times bent.; Lm. 26.; Door Jamb Flash 365mm girth 3 times bent.; Lm. 27.; Window Jamb Flash 330mm girth 3 times bent.; Lm. 28.; Window Sill Flash 230mm girth 2 times bent.; Lm. 29.; No. Note! For special flashing requirements contact Global Roofing Solutions Tel (011) 898-2900.