|  | Bond-Lok. Item; Description; Unit; Quantity; Rate; Total. 1.; The permanent form work shall be Bond-Lok 50/270, 50mm deep x 270mm wide with Z275 spelter galvanised troughed interlocking Commercial Quality steel sheets. Manufacturer: Global Roofing Solutions Tel. (011) 898-2900 Options of finish to be placed above: - 1mm Galvanized Z275 Spelter - 1.2mm Galvanized Z275 Spelter. - 1.6mm Galvanized Z275 Spelter. - 2.0mm Galvanized Z275 Spelter 1.0mm Galvanized Z275 Spelter with Chromadek paint finish to one side and Papyrus white backer to reverse side.; M2. 2.; Kerb Flashing 25 x 75 x slab depth. Available in 0.8mm, 1.0mm, 1.2mm Z275 Spelter Galvanized steel.; Lm. 3.; Drip Kerb Flashing 25 x 25 x 35 x 50 x Depth of slab available in 0.8mm, 1.0mm, 1.2mm Z275 Spelter Galvanized Steel.; Lm. 4.; Strapping to secure flashing; Lm.. |  |
| --- | --- | --- |